## CY2024 CCR Violaton Inventory
CALENDAR YEAR 2024 CCR VIOLATION INVENTORY
PWSID | SYSTEM_NAME | TYPE_CODE | NAME | ANLYT_OR_GROUP | DETERMINATION_DATE | STATE_PRD_BEGIN_DT | STATE_PRD_END_DT | FED_PRD_BEGIN_DT | FED_PRD_END_DT | PN_REQUIRED | REQUIRED_DATE | PN_COMPLETED | COMPLETE_DATE
AL0000029 | DAPHNE, UTILITIES BOARD OF THE CITY OF | 03 | MONITORING, ROUTINE MAJOR | RADIOLOGICALS(RADS) | 2024-02-09 | 2024-01-11 | 2024-02-09 | 2023-10-01 | 2023-12-31 | - |  | -
AL0000029 | DAPHNE, UTILITIES BOARD OF THE CITY OF | 3A | MONITORING, ROUTINE, MINOR (RTCR) | E. COLI(3014) | 2024-02-16 | 2024-01-01 | 2024-01-31 | 2024-01-01 | 2024-01-31 | YES | 2025-02-16 | YES | 2025-02-07
AL0000035 | FAIRHOPE, CITY OF | NP | FACILITY CONSTRUCTION W/O PERMIT |  | 2024-04-05 | 2023-03-01 |  | 2023-03-01 |  | - |  | -
AL0000068 | SPANISH FORT WATER SYSTEM | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-07-11 | 2024-06-11 |  | 2024-06-11 |  | - |  | -
AL0000082 | CLAYTON WATER WORKS & SEWER | 52 | FOLLOW-UP OR ROUTINE TAP M/R (LCR) | LEAD & COPPER RULE(5000) | 2024-01-11 | 2023-07-01 | 2023-12-31 | 2023-07-01 | 2023-12-31 | YES | 2024-12-31 | -
AL0000083 | CLIO WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-01-11 | 2023-12-01 | 2023-12-31 | 2023-12-01 | 2023-12-31 | YES | 2024-12-31 | YES | 2024-07-01
AL0000083 | CLIO WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-07-17 | 2024-06-01 | 2024-06-30 | 2024-06-01 | 2024-06-30 | YES | 2025-06-30 | -
AL0000083 | CLIO WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-12-13 | 2024-11-01 | 2024-11-30 | 2024-11-01 | 2024-11-30 | YES | 2025-11-30 | -
AL0000083 | CLIO WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2025-01-13 | 2024-12-01 | 2024-12-31 | 2024-12-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0000083 | CLIO WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-01-11 | 2023-12-11 |  | 2023-12-11 |  | - |  | -
AL0000083 | CLIO WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-11-18 | 2024-10-11 |  | 2024-10-11 |  | - |  | -
AL0000083 | CLIO WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-12-12 | 2024-11-11 |  | 2024-11-11 |  | - |  | -
AL0000083 | CLIO WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2025-01-15 | 2024-12-11 |  | 2024-12-11 |  | - |  | -
AL0000088 | LOUISVILLE WATER WORKS | 03 | MONITORING, ROUTINE MAJOR | NITRATE(1040) | 2025-01-14 | 2024-01-01 | 2024-12-31 | 2024-01-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0000088 | LOUISVILLE WATER WORKS | 03 | MONITORING, ROUTINE MAJOR | VOCS SCHEDULE(SVOC) | 2024-07-11 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2025-06-30 | -
AL0000088 | LOUISVILLE WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-01-11 | 2023-12-01 | 2023-12-31 | 2023-12-01 | 2023-12-31 | YES | 2024-12-31 | YES | 2024-05-09
AL0000088 | LOUISVILLE WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-07-17 | 2024-06-01 | 2024-06-30 | 2024-06-01 | 2024-06-30 | YES | 2025-06-30 | -
AL0000088 | LOUISVILLE WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-12-13 | 2024-11-01 | 2024-11-30 | 2024-11-01 | 2024-11-30 | YES | 2025-11-30 | -
AL0000088 | LOUISVILLE WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2025-01-13 | 2024-12-01 | 2024-12-31 | 2024-12-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0000089 | MT ANDREW WATER AUTHORITY | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | -
AL0000089 | MT ANDREW WATER AUTHORITY | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-01-11 | 2024-01-11 | 2024-01-11 | 2024-01-11 | 2024-01-11 | - |  | -
AL0000089 | MT ANDREW WATER AUTHORITY | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2025-11-06 | -
AL0000089 | MT ANDREW WATER AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-03-19 | 2024-02-22 | 2024-02-22 | 2024-03-08 | 2024-03-08 | - |  | -
AL0000089 | MT ANDREW WATER AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2025-01-30 | 2024-10-17 |  | 2024-12-07 |  | - |  | -
AL0000089 | MT ANDREW WATER AUTHORITY | CO | CERTIFIED OPERATOR |  | 2024-03-07 | 2023-12-01 | 2024-03-01 | 2023-12-01 | 2024-03-01 | - |  | -
AL0000089 | MT ANDREW WATER AUTHORITY | RD | CHLORINE RESIDUAL DISINFECTANT LEVEL | CHLORINE(0999) | 2024-02-23 | 2024-02-22 | 2024-02-22 | 2024-02-22 | 2024-02-22 | YES | 2024-03-07 | YES | 2024-03-12
AL0000116 | MIDWAY WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-01-11 | 2023-12-01 | 2023-12-31 | 2023-12-01 | 2023-12-31 | YES | 2024-12-31 | -
AL0000116 | MIDWAY WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-07-17 | 2024-06-01 | 2024-06-30 | 2024-06-01 | 2024-06-30 | YES | 2025-06-30 | -
AL0000116 | MIDWAY WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-12-13 | 2024-11-01 | 2024-11-30 | 2024-11-01 | 2024-11-30 | YES | 2025-11-30 | -
AL0000116 | MIDWAY WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2025-01-13 | 2024-12-01 | 2024-12-31 | 2024-12-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0000116 | MIDWAY WATER WORKS | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-11-01 | 2021-01-01 | 2023-12-31 | 2024-10-01 |  | - |  | -
AL0000116 | MIDWAY WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-01-11 | 2023-12-11 |  | 2023-12-11 |  | - |  | -
AL0000116 | MIDWAY WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-07-11 | 2024-06-11 |  | 2024-06-11 |  | - |  | -
AL0000116 | MIDWAY WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-11-18 | 2024-10-11 |  | 2024-10-11 |  | - |  | -
AL0000116 | MIDWAY WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-12-12 | 2024-11-11 |  | 2024-11-11 |  | - |  | -
AL0000116 | MIDWAY WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2025-01-15 | 2024-12-11 |  | 2024-12-11 |  | - |  | -
AL0000118 | UNION SPRINGS UTIL BOARD | 34 | MONITOR GWR TRIGGERED/ADDITONAL, MAJOR | E. COLI(3014) | 2024-09-12 | 2024-08-31 |  | 2024-08-31 |  | YES | 2025-08-31 | -
AL0000125 | GREENVILLE WATER WORKS | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-02-09 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2025-03-31 | -
AL0000125 | GREENVILLE WATER WORKS | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-04-03 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2025-03-31 | -
AL0000125 | GREENVILLE WATER WORKS | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-10-25 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2025-03-31 | -
AL0000125 | GREENVILLE WATER WORKS | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2025-01-14 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0000128 | MCKENZIE WATER BOARD | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-08-16 | 2024-08-11 | 2024-08-15 | 2024-08-11 | 2024-08-15 | - |  | -
AL0000162 | OXFORD WATER WORKS & SEWER BOARD | 01 | MCL, SINGLE SAMPLE | TRICHLOROETHYLENE(2984) | 2024-06-10 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2024-07-10 | YES | 2024-07-11
AL0000162 | OXFORD WATER WORKS & SEWER BOARD | 03 | MONITORING, ROUTINE MAJOR | VOCS SCHEDULE(SVOC) | 2025-01-14 | 2024-01-01 | 2024-12-31 | 2024-01-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0000162 | OXFORD WATER WORKS & SEWER BOARD | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-11-01 | 2024-04-01 | 2024-06-30 | 2024-07-11 | 2024-07-11 | - |  | -
AL0000180 | BEULAH UTILITIES DISTRICT | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2025-01-10 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0000180 | BEULAH UTILITIES DISTRICT | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | YES | 2024-12-11
AL0000180 | BEULAH UTILITIES DISTRICT | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 | 2024-11-12 | 2024-10-17 | 2024-11-12 | YES | 2025-11-06 | YES | 2024-12-11
AL0000232 | BUTLER WATER SYSTEM | 02 | MCL, LRAA | TTHM(2950) | 2024-02-26 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2024-03-26 | YES | 2024-03-26
AL0000232 | BUTLER WATER SYSTEM | 02 | MCL, LRAA | TTHM(2950) | 2024-06-04 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2024-07-05 | YES | 2024-07-11
AL0000232 | BUTLER WATER SYSTEM | 35 | FAILURE SUBMIT OEL REPORT FOR TTHM | TTHM(2950) | 2025-01-06 | 2024-03-06 |  | 2024-03-06 |  | - |  | -
AL0000232 | BUTLER WATER SYSTEM | 35 | FAILURE SUBMIT OEL REPORT FOR TTHM | TTHM(2950) | 2025-01-06 | 2024-04-11 |  | 2024-04-11 |  | - |  | -
AL0000232 | BUTLER WATER SYSTEM | 35 | FAILURE SUBMIT OEL REPORT FOR TTHM | TTHM(2950) | 2025-01-06 | 2024-09-06 |  | 2024-09-06 |  | - |  | -
AL0000237 | GILBERTOWN, UTILITIES BOARD OF TOWN OF | 02 | MCL, LRAA | TTHM(2950) | 2024-02-26 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2024-03-27 | YES | 2024-03-18
AL0000237 | GILBERTOWN, UTILITIES BOARD OF TOWN OF | 02 | MCL, LRAA | TTHM(2950) | 2024-05-23 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2024-06-23 | YES | 2024-06-17
AL0000237 | GILBERTOWN, UTILITIES BOARD OF TOWN OF | 02 | MCL, LRAA | TTHM(2950) | 2024-08-27 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2024-09-28 | YES | 2024-09-19
AL0000237 | GILBERTOWN, UTILITIES BOARD OF TOWN OF | 02 | MCL, LRAA | TTHM(2950) | 2024-11-25 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-01-10 | YES | 2024-12-17
AL0000237 | GILBERTOWN, UTILITIES BOARD OF TOWN OF | 02 | MCL, LRAA | TTHM(2950) | 2025-02-10 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-03-11 | -
AL0000237 | GILBERTOWN, UTILITIES BOARD OF TOWN OF | 35 | FAILURE SUBMIT OEL REPORT FOR TTHM | TTHM(2950) | 2025-01-06 | 2024-03-06 |  | 2024-03-06 |  | - |  | -
AL0000237 | GILBERTOWN, UTILITIES BOARD OF TOWN OF | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-01-24 | 2023-10-01 | 2023-12-31 | 2024-01-06 | 2024-02-23 | - |  | -
AL0000243 | NORTH CHOCTAW WATER & SEWER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | RADIOLOGICALS(RADS) | 2024-07-11 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | - |  | -
AL0000243 | NORTH CHOCTAW WATER & SEWER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | RADIOLOGICALS(RADS) | 2024-07-11 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2025-06-30 | -
AL0000243 | NORTH CHOCTAW WATER & SEWER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | SOCS SCHEDULE(SSOC) | 2024-07-11 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2025-06-30 | -
AL0000243 | NORTH CHOCTAW WATER & SEWER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | VOCS SCHEDULE(SVOC) | 2024-07-11 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2025-06-30 | -
AL0000243 | NORTH CHOCTAW WATER & SEWER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-10-11 | 2024-01-01 | 2025-07-31 | 2024-01-01 | 2025-07-31 | YES | 2025-08-31 | -
AL0000243 | NORTH CHOCTAW WATER & SEWER AUTHORITY | 3A | MONITORING, ROUTINE, MINOR (RTCR) | E. COLI(3014) | 2024-04-11 | 2024-03-01 | 2024-03-31 | 2024-03-01 | 2024-03-31 | YES | 2025-03-31 | YES | 2024-06-17
AL0000256 | JACKSON WATER WORKS & SEWER BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | CARBON, TOTAL(2920) | 2024-03-13 | 2024-02-01 | 2024-02-29 | 2024-01-01 | 2024-03-31 | YES | 2025-02-28 | -
AL0000257 | OLD LINE WATER SYSTEM | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-23 | 2024-10-17 | 2024-10-23 | YES | 2025-12-03 | -
AL0000277 | EDWARDSVILLE WATER & FIRE PRO AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-01 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2025-03-31 | -
AL0000277 | EDWARDSVILLE WATER & FIRE PRO AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-04-03 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2025-03-31 | -
AL0000277 | EDWARDSVILLE WATER & FIRE PRO AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-10-25 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2025-03-31 | -
AL0000277 | EDWARDSVILLE WATER & FIRE PRO AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2025-01-15 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-03-31 | -
AL0000295 | ELBA WATER WORKS | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-01-10 | 2023-04-01 | 2023-06-30 | 2023-06-03 | 2023-06-07 | - |  | -
AL0000295 | ELBA WATER WORKS | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-01-11 | 2023-10-01 | 2023-12-31 | 2023-12-10 | 2023-12-11 | - |  | -
AL0000295 | ELBA WATER WORKS | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-01-29 | 2022-07-01 | 2022-09-30 | 2023-10-01 | 2024-01-11 | - |  | -
AL0000295 | ELBA WATER WORKS | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-01-29 | 2023-01-01 | 2023-03-31 | 2023-05-04 | 2024-01-11 | - |  | -
AL0000295 | ELBA WATER WORKS | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-01-29 | 2023-07-01 | 2023-09-30 | 2023-11-14 | 2023-12-21 | - |  | -
AL0000302 | NEW BROCKTON WATER DEPARTMENT | 52 | FOLLOW-UP OR ROUTINE TAP M/R (LCR) | LEAD & COPPER RULE(5000) | 2024-10-16 | 2022-01-01 | 2024-12-31 | 2022-01-01 | 2024-12-31 | YES | 2025-09-30 | -
AL0000319 | LEIGHTON, WSB OF THE TOWN OF | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | YES | 2024-12-04
AL0000319 | LEIGHTON, WSB OF THE TOWN OF | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 | 2024-12-03 | 2024-10-17 | 2024-12-03 | YES | 2025-11-06 | YES | 2024-12-04
AL0000327 | SHEFFIELD UTITLIES, CITY OF SHEFFIELD DB | 03 | MONITORING, ROUTINE MAJOR | LASSO(2051) | 2023-04-04 | 2023-01-11 | 2024-01-23 | 2020-01-01 | 2022-12-31 | YES |  | -
AL0000337 | CASTLEBERRY WATER SYSTEM | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-04-12 | 2024-03-11 |  | 2024-03-11 |  | - |  | -
AL0000341 | LYEFFION WATER AUTHORITY, INC. | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-08-16 | 2024-08-11 | 2024-08-15 | 2024-08-11 | 2024-08-15 | - |  | -
AL0000344 | REPTON WATER WORKS | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | YES | 2024-12-05
AL0000344 | REPTON WATER WORKS | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 | 2024-11-07 | 2024-10-17 | 2024-11-07 | YES | 2025-11-06 | YES | 2024-12-05
AL0000344 | REPTON WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-12-12 | 2024-11-11 |  | 2024-11-11 |  | - |  | -
AL0000351 | GOODWATER WTR WORKS & SEWER BD, CITY OF | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | YES | 2024-12-12
AL0000351 | GOODWATER WTR WORKS & SEWER BD, CITY OF | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 | 2024-11-06 | 2024-10-17 | 2024-11-06 | YES | 2025-11-06 | YES | 2024-12-12
AL0000352 | KELLYTON WATER SYSTEM | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | YES | 2024-12-12
AL0000352 | KELLYTON WATER SYSTEM | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 | 2024-11-06 | 2024-10-17 | 2024-11-06 | YES | 2025-11-06 | YES | 2024-12-12
AL0000361 | COVINGTON COUNTY WATER AUTHORITY | 66 | LEAD CONSUMER NOTICE (LCR) | LEAD & COPPER RULE(5000) | 2024-11-08 | 2024-03-31 | 2024-11-27 | 2024-03-31 | 2024-11-27 | - |  | -
AL0000378 | RED LEVEL WATER WORKS | 3A | MONITORING, ROUTINE, MINOR (RTCR) | E. COLI(3014) | 2024-06-14 | 2024-05-01 | 2024-05-31 | 2024-05-01 | 2024-05-31 | YES | 2025-05-31 | YES | 2024-08-27
AL0000379 | RIVER FALLS, TOWN OF | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2023-10-31 | 2023-09-01 | 2024-08-31 | 2023-09-01 | 2024-08-31 | YES | 2024-09-30 | YES | 2024-05-28
AL0000388 | GLENWOOD WATER WORKS | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-11-13 | 2024-10-01 | 2024-10-31 | 2024-10-01 | 2024-10-31 | YES | 2025-10-31 | -
AL0000388 | GLENWOOD WATER WORKS | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-24 | 2024-10-17 | 2024-10-24 | YES | 2025-12-03 | -
AL0000388 | GLENWOOD WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-01-11 | 2023-12-11 | 2024-05-02 | 2023-12-11 | 2024-05-02 | - |  | -
AL0000388 | GLENWOOD WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-02-12 | 2024-01-11 | 2024-04-22 | 2024-01-11 | 2024-04-22 | - |  | -
AL0000388 | GLENWOOD WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-03-14 | 2024-02-11 | 2024-04-22 | 2024-02-11 | 2024-04-22 | - |  | -
AL0000388 | GLENWOOD WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-04-12 | 2024-03-11 | 2024-04-22 | 2024-03-11 | 2024-04-22 | - |  | -
AL0000390 | LUVERNE WATER & SEWER DEPARTMENT | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-11-13 | 2024-10-01 | 2024-10-31 | 2024-10-01 | 2024-10-31 | YES | 2025-10-31 | -
AL0000390 | LUVERNE WATER & SEWER DEPARTMENT | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-23 | 2024-10-17 | 2024-10-23 | YES | 2025-12-03 | -
AL0000409 | JOPPA, HULACO & RYAN WATER AUTHORITY | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-24 | 2024-10-17 | 2024-10-24 | YES | 2025-12-03 | -
AL0000416 | ARITON WATER WORKS | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | -
AL0000416 | ARITON WATER WORKS | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2025-11-06 | -
AL0000416 | ARITON WATER WORKS | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2025-01-30 | 2024-10-17 |  | 2024-12-07 |  | - |  | -
AL0000416 | ARITON WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2023-09-11 | 2023-08-11 | 2024-01-04 | 2023-08-11 | 2024-01-04 | - |  | -
AL0000416 | ARITON WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-07-11 | 2024-06-11 | 2024-12-26 | 2024-06-11 | 2024-12-26 | - |  | -
AL0000416 | ARITON WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-10-31 | 2024-09-11 | 2024-11-07 | 2024-09-11 | 2024-11-07 | - |  | -
AL0000420 | DALEVILLE, THE WWSB OF THE CITY OF | 03 | MONITORING, ROUTINE MAJOR | VOCS SCHEDULE(SVOC) | 2024-05-02 | 2022-10-01 | 2022-12-31 | 2022-10-01 | 2022-12-31 | YES | 2023-12-31 | -
AL0000420 | DALEVILLE, THE WWSB OF THE CITY OF | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2023-11-08 | 2020-01-01 | 2022-12-31 | 2023-10-01 | 2024-01-12 | YES | 2023-09-30 | YES | 2024-01-12
AL0000420 | DALEVILLE, THE WWSB OF THE CITY OF | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-09-11 | 2022-10-01 | 2022-12-31 | 2024-01-01 | 2024-05-06 | - |  | -
AL0000441 | OZARK UTILITIES BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | TOTAL HALOACETIC ACIDS (HAA5)(2456) | 2024-12-23 | 2024-11-01 | 2024-11-30 | 2024-01-01 | 2024-12-31 | YES | 2026-01-06 | -
AL0000463 | DALLAS COUNTY WATER & SEWER AUTHORITY | 3A | MONITORING, ROUTINE, MINOR (RTCR) | E. COLI(3014) | 2024-08-16 | 2024-07-01 | 2024-07-31 | 2024-07-01 | 2024-07-31 | YES | 2025-07-31 | -
AL0000490 | SELMA, THE WW AND SB OF THE CITY OF | 52 | FOLLOW-UP OR ROUTINE TAP M/R (LCR) | LEAD & COPPER RULE(5000) | 2024-10-16 | 2024-01-01 | 2024-12-31 | 2024-01-01 | 2024-12-31 | YES | 2025-09-30 | -
AL0000491 | WEST DALLAS CO WATER AUTHORITY | 66 | LEAD CONSUMER NOTICE (LCR) | LEAD & COPPER RULE(5000) | 2024-11-08 | 2024-03-31 | 2024-12-03 | 2024-03-31 | 2024-12-03 | - |  | -
AL0000533 | ECLECTIC WATER WORKS & SEWER BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-09-16 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2025-09-30 | YES | 2024-12-12
AL0000533 | ECLECTIC WATER WORKS & SEWER BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2025-01-15 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-09-30 | YES | 2024-12-12
AL0000537 | FRIENDSHIP WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2025-01-15 | 2024-12-11 |  | 2024-12-11 |  | - |  | -
AL0000539 | MILLBROOK UTILITIES | 52 | FOLLOW-UP OR ROUTINE TAP M/R (LCR) | LEAD & COPPER RULE(5000) | 2024-10-16 | 2022-01-01 | 2024-12-31 | 2022-01-01 | 2024-12-31 | YES | 2025-09-30 | -
AL0000540 | HOLTVILLE WATER SYSTEM | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-02-09 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2025-03-31 | YES | 2024-03-07
AL0000540 | HOLTVILLE WATER SYSTEM | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-04-03 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2025-03-31 | YES | 2024-03-07
AL0000540 | HOLTVILLE WATER SYSTEM | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-10-25 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2025-03-31 | YES | 2024-03-07
AL0000540 | HOLTVILLE WATER SYSTEM | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2025-01-15 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-03-31 | YES | 2024-03-07
AL0000548 | TALLASSEE WATER WORKS | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-07 | 2023-07-20 | 2023-11-15 | 2023-07-20 | 2023-11-15 | YES | 2024-09-30 | YES | 2024-05-17
AL0000548 | TALLASSEE WATER WORKS | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-07 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2024-09-30 | YES | 2024-05-17
AL0000548 | TALLASSEE WATER WORKS | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-07-05 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2024-09-30 | YES | 2024-05-17
AL0000553 | WEST ESCAMBIA UTILITIES INC. | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-07 | 2023-07-14 | 2023-12-24 | 2023-07-14 | 2023-12-24 | YES | 2024-06-30 | YES | 2024-07-03
AL0000553 | WEST ESCAMBIA UTILITIES INC. | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-07 | 2023-12-20 | 2024-03-24 | 2023-12-20 | 2024-03-24 | YES | 2024-06-30 | YES | 2024-07-03
AL0000553 | WEST ESCAMBIA UTILITIES INC. | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-23 | 2024-10-17 | 2024-10-23 | YES | 2025-12-03 | -
AL0000555 | BREWTON WATER WORKS | 03 | MONITORING, ROUTINE MAJOR | RADIOLOGICALS(RADS) | 2024-04-12 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | - |  | -
AL0000555 | BREWTON WATER WORKS | 03 | MONITORING, ROUTINE MAJOR | RADIOLOGICALS(RADS) | 2024-04-12 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2025-03-31 | YES | 2024-05-30
AL0000555 | BREWTON WATER WORKS | 03 | MONITORING, ROUTINE MAJOR | SOCS SCHEDULE(SSOC) | 2024-04-12 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | - |  | -
AL0000555 | BREWTON WATER WORKS | 03 | MONITORING, ROUTINE MAJOR | SOCS SCHEDULE(SSOC) | 2024-04-12 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2025-03-31 | YES | 2024-05-30
AL0000561 | FREEMANVILLE WATER SYSTEM | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-08-16 | 2024-07-11 | 2024-08-22 | 2024-07-11 | 2024-08-22 | - |  | -
AL0000588 | RAINBOW CITY, WWB OF THE TOWN OF | 66 | LEAD CONSUMER NOTICE (LCR) | LEAD & COPPER RULE(5000) | 2024-11-08 | 2024-03-31 | 2024-11-20 | 2024-03-31 | 2024-11-20 | - |  | -
AL0000591 | SOUTHSIDE WATER WORKS | 66 | LEAD CONSUMER NOTICE (LCR) | LEAD & COPPER RULE(5000) | 2024-11-08 | 2024-09-29 |  | 2024-09-29 |  | - |  | -
AL0000622 | GENEVA WATER WORKS | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2025-02-10 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0000624 | HARTFORD WATER WORKS | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-10-10 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | - |  | -
AL0000643 | GREENE COUNTY WATER AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2023-11-03 | 2020-01-01 | 2022-12-31 | 2023-10-01 | 2024-01-31 | - |  | -
AL0000645 | GREENSBORO, UTILITIES BD OF THE CITY OF | 03 | MONITORING, ROUTINE MAJOR | NITRATE(1040) | 2024-01-11 | 2023-01-01 | 2023-12-31 | 2023-01-01 | 2023-12-31 | YES | 2024-12-31 | YES | 2024-06-17
AL0000645 | GREENSBORO, UTILITIES BD OF THE CITY OF | 03 | MONITORING, ROUTINE MAJOR | VOCS SCHEDULE(SVOC) | 2024-01-12 | 2023-01-01 | 2023-12-31 | 2023-01-01 | 2023-12-31 | YES | 2024-12-31 | YES | 2024-06-26
AL0000645 | GREENSBORO, UTILITIES BD OF THE CITY OF | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-25 | 2024-10-17 | 2024-10-25 | YES | 2025-12-03 | -
AL0000663 | HENRY COUNTY WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | RADIOLOGICALS(RADS) | 2025-01-14 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | - |  | -
AL0000663 | HENRY COUNTY WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | RADIOLOGICALS(RADS) | 2025-01-14 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0000663 | HENRY COUNTY WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | SOCS SCHEDULE(SSOC) | 2025-01-14 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0000663 | HENRY COUNTY WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | VOCS SCHEDULE(SVOC) | 2025-01-14 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0000666 | NEWVILLE WATER SYSTEM | 52 | FOLLOW-UP OR ROUTINE TAP M/R (LCR) | LEAD & COPPER RULE(5000) | 2024-10-16 | 2024-10-11 | 2024-10-17 | 2022-01-01 | 2024-12-31 | - |  | -
AL0000669 | WILLS CROSS ROADS WATER SYSTEM | 66 | LEAD CONSUMER NOTICE (LCR) | LEAD & COPPER RULE(5000) | 2024-11-08 | 2024-03-31 |  | 2024-03-31 |  | - |  | -
AL0000669 | WILLS CROSS ROADS WATER SYSTEM | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-01-11 | 2023-12-11 |  | 2023-12-11 |  | - |  | -
AL0000677 | COTTONWOOD WATER WORKS | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | -
AL0000677 | COTTONWOOD WATER WORKS | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2025-11-06 | -
AL0000677 | COTTONWOOD WATER WORKS | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2025-01-30 | 2024-10-17 |  | 2024-12-07 |  | - |  | -
AL0000732 | STEVENSON, UTIL. BOARD OF THE TOWN OF | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-05 | 2024-10-17 |  | 2024-10-17 |  | YES | 2025-01-04 | -
AL0000732 | STEVENSON, UTIL. BOARD OF THE TOWN OF | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-05 | 2024-10-17 |  | 2024-10-17 |  | YES | 2025-12-05 | -
AL0000732 | STEVENSON, UTIL. BOARD OF THE TOWN OF | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2025-01-30 | 2024-10-17 |  | 2025-01-05 |  | - |  | -
AL0000737 | BESSEMER WATER SERVICE | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 |  | 2024-10-17 |  | YES | 2025-12-03 | -
AL0000738 | BIRMINGHAM, THE WW BOARD OF THE CITY OF | 52 | FOLLOW-UP OR ROUTINE TAP M/R (LCR) | LEAD & COPPER RULE(5000) | 2024-01-03 | 2023-06-01 | 2023-09-30 | 2021-01-01 | 2023-12-31 | YES | 2024-09-30 | YES | 2024-07-03
AL0000763 | WARRIOR RIVER WATER AUTHORITY | 02 | MCL, LRAA | TTHM(2950) | 2024-09-06 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2024-10-05 | YES | 2024-11-15
AL0000763 | WARRIOR RIVER WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | 2,4-D(2105) | 2024-04-12 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2025-03-31 | -
AL0000763 | WARRIOR RIVER WATER AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-11-01 | 2024-07-01 | 2024-09-30 | 2024-10-06 | 2024-11-15 | - |  | -
AL0000767 | DETROIT WATER WORKS | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-18 | 2024-10-17 | 2024-10-18 | YES | 2025-12-03 | -
AL0000777 | CHISHOLM HEIGHTS WATER & F P AUTHORITY | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | -
AL0000777 | CHISHOLM HEIGHTS WATER & F P AUTHORITY | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-09-12 | 2024-08-01 | 2024-08-31 | 2024-08-01 | 2024-08-31 | YES | 2025-08-31 | -
AL0000777 | CHISHOLM HEIGHTS WATER & F P AUTHORITY | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 | 2025-02-05 | 2024-10-17 | 2025-02-05 | YES | 2025-11-06 | -
AL0000777 | CHISHOLM HEIGHTS WATER & F P AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2025-01-30 | 2024-10-17 |  | 2024-12-07 |  | - |  | -
AL0000788 | LEXINGTON WATER WORKS AND SEWER | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-11-20 | 2024-10-17 | 2024-11-20 | YES | 2025-12-03 | -
AL0000798 | MOULTON WATER WORKS BOARD | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-28 | 2024-10-17 | 2024-10-28 | YES | 2025-12-03 | -
AL0000801 | WEST LAWRENCE WATER COOP | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-06-13 | 2024-06-11 | 2024-06-12 | 2024-06-11 | 2024-06-12 | - |  | -
AL0000801 | WEST LAWRENCE WATER COOP | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-24 | 2024-10-17 | 2024-10-24 | YES | 2025-12-03 | -
AL0000831 | SWAN CREEK COMMUNITY, ROYCE SWAN, LLC | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-08-16 | 2024-08-11 | 2024-08-12 | 2024-08-11 | 2024-08-12 | - |  | -
AL0000831 | SWAN CREEK COMMUNITY, ROYCE SWAN, LLC | 66 | LEAD CONSUMER NOTICE (LCR) | LEAD & COPPER RULE(5000) | 2024-11-08 | 2024-03-31 |  | 2024-03-31 |  | - |  | -
AL0000831 | SWAN CREEK COMMUNITY, ROYCE SWAN, LLC | 66 | LEAD CONSUMER NOTICE (LCR) | LEAD & COPPER RULE(5000) | 2024-11-08 | 2024-09-29 |  | 2024-09-29 |  | - |  | -
AL0000847 | HAYNEVILLE WATER DEPARTMENT | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2023-10-31 | 2023-09-01 | 2024-08-31 | 2023-09-01 | 2024-08-31 | YES | 2024-09-30 | YES | 2024-08-29
AL0000847 | HAYNEVILLE WATER DEPARTMENT | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-08-16 | 2024-08-11 | 2024-08-12 | 2024-08-11 | 2024-08-12 | - |  | -
AL0000853 | MOSSES WATER & FIRE PRO AUTHORITY | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-02-12 | 2024-01-11 |  | 2024-01-11 |  | - |  | -
AL0000865 | STAR-MINDINGALL WATER AUTHORITY | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-08-16 | 2024-08-11 | 2024-08-15 | 2024-08-11 | 2024-08-15 | - |  | -
AL0000867 | MACON COUNTY WATER AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-11-01 | 2021-01-01 | 2023-12-31 | 2024-10-01 |  | - |  | -
AL0000870 | TUSKEGEE, UTILITIES BOARD OF THE CITY OF | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-06-07 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2025-06-30 | -
AL0000870 | TUSKEGEE, UTILITIES BOARD OF THE CITY OF | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-10-25 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2025-06-30 | -
AL0000870 | TUSKEGEE, UTILITIES BOARD OF THE CITY OF | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2025-01-15 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-06-30 | -
AL0000885 | MADISON, WATER & WW BOARD OF THE CITY OF | 27 | MONITORING, ROUTINE (DBP), MAJOR | CARBON, TOTAL(2920) | 2024-02-12 | 2024-02-11 | 2024-02-12 | 2024-01-01 | 2024-03-31 | - |  | -
AL0000885 | MADISON, WATER & WW BOARD OF THE CITY OF | 27 | MONITORING, ROUTINE (DBP), MAJOR | CARBON, TOTAL(2920) | 2024-08-12 | 2024-08-11 | 2024-08-12 | 2024-07-01 | 2024-09-30 | - |  | -
AL0000909 | FAUNSDALE WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-02-12 | 2024-01-11 |  | 2024-01-11 |  | - |  | -
AL0000909 | FAUNSDALE WATER WORKS | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-04-12 | 2024-03-11 | 2024-05-10 | 2024-03-11 | 2024-05-10 | - |  | -
AL0000918 | SWEETWATER, THE WW & SB OF THE TOWN OF | 02 | MCL, LRAA | TTHM(2950) | 2024-02-20 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2024-03-21 | YES | 2024-03-23
AL0000918 | SWEETWATER, THE WW & SB OF THE TOWN OF | 02 | MCL, LRAA | TTHM(2950) | 2024-05-23 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2024-06-23 | YES | 2024-06-25
AL0000918 | SWEETWATER, THE WW & SB OF THE TOWN OF | 02 | MCL, LRAA | TTHM(2950) | 2024-08-20 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2024-09-21 | -
AL0000918 | SWEETWATER, THE WW & SB OF THE TOWN OF | 35 | FAILURE SUBMIT OEL REPORT FOR TTHM | TTHM(2950) | 2025-01-06 | 2024-03-06 |  | 2024-03-06 |  | - |  | -
AL0000918 | SWEETWATER, THE WW & SB OF THE TOWN OF | 35 | FAILURE SUBMIT OEL REPORT FOR TTHM | TTHM(2950) | 2025-01-06 | 2024-04-06 |  | 2024-04-06 |  | - |  | -
AL0000918 | SWEETWATER, THE WW & SB OF THE TOWN OF | 35 | FAILURE SUBMIT OEL REPORT FOR TTHM | TTHM(2950) | 2025-01-06 | 2024-08-24 |  | 2024-08-24 |  | - |  | -
AL0000918 | SWEETWATER, THE WW & SB OF THE TOWN OF | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-01-24 | 2023-10-01 | 2023-12-31 | 2024-01-06 |  | - |  | -
AL0000918 | SWEETWATER, THE WW & SB OF THE TOWN OF | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-11-01 | 2024-07-01 | 2024-09-30 | 2024-09-22 |  | - |  | -
AL0000918 | SWEETWATER, THE WW & SB OF THE TOWN OF | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-02-12 | 2024-01-11 |  | 2024-01-11 |  | - |  | -
AL0000918 | SWEETWATER, THE WW & SB OF THE TOWN OF | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-04-12 | 2024-03-11 |  | 2024-03-11 |  | - |  | -
AL0000921 | BRILLIANT, THE UB OF THE TOWN | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | YES | 2024-12-05
AL0000921 | BRILLIANT, THE UB OF THE TOWN | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2025-11-06 | YES | 2024-12-05
AL0000921 | BRILLIANT, THE UB OF THE TOWN | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-11-01 | 2021-01-01 | 2023-12-31 | 2024-10-01 |  | - |  | -
AL0000925 | HACKLEBURG WATER & SEWER BOARD | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | YES | 2024-12-04
AL0000925 | HACKLEBURG WATER & SEWER BOARD | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 | 2024-11-15 | 2024-10-17 | 2024-11-15 | YES | 2025-11-06 | YES | 2024-12-04
AL0000929 | TWIN WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-29 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2025-03-31 | -
AL0000929 | TWIN WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-07-05 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2025-03-31 | -
AL0000929 | TWIN WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-10-25 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2025-03-31 | -
AL0000929 | TWIN WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2025-01-15 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-03-31 | -
AL0000929 | TWIN WATER AUTHORITY | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-08-16 | 2024-08-11 | 2024-08-14 | 2024-08-11 | 2024-08-14 | - |  | -
AL0000943 | GUNTERSVILLE, THE WWSB OF THE CITY OF | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2023-11-03 | 2022-08-01 | 2022-08-31 | 2023-09-01 | 2024-01-17 | - |  | -
AL0001006 | MT. VERNON, TOWN OF | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | -
AL0001006 | MT. VERNON, TOWN OF | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 | 2024-12-13 | 2024-10-17 | 2024-12-13 | YES | 2025-11-06 | -
AL0001006 | MT. VERNON, TOWN OF | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2025-01-29 | 2024-10-17 |  | 2024-12-07 |  | - |  | -
AL0001015 | PRICHARD WATER WORKS BOARD | 02 | MCL, LRAA | TTHM(2950) | 2024-07-08 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2024-08-12 | YES | 2024-08-08
AL0001015 | PRICHARD WATER WORKS BOARD | 02 | MCL, LRAA | TTHM(2950) | 2024-09-24 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2024-11-08 | YES | 2024-11-06
AL0001015 | PRICHARD WATER WORKS BOARD | 02 | MCL, LRAA | TTHM(2950) | 2025-02-10 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-03-11 | -
AL0001022 | SATSUMA WATER WORKS | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-01-11 | 2020-01-01 | 2022-12-31 | 2024-01-01 | 2024-02-16 | - |  | -
AL0001046 | EXCEL, TOWN OF | 59 | WQP LEVEL NON-COMPLIANCE (LCR) | LEAD & COPPER RULE(5000) | 2024-02-02 | 2023-07-01 | 2023-12-31 | 2023-07-01 | 2023-12-31 | YES | 2024-03-10 | YES | 2024-03-06
AL0001050 | MEXIA WATER SYSTEM, INC. | 03 | MONITORING, ROUTINE MAJOR | VOCS SCHEDULE(SVOC) | 2024-07-11 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2025-06-30 | -
AL0001050 | MEXIA WATER SYSTEM, INC. | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-01-11 | 2023-12-11 | 2024-01-24 | 2023-12-11 | 2024-01-24 | - |  | -
AL0001056 | URIAH WATER SYSTEM INC. | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2023-10-31 | 2023-07-01 | 2024-06-30 | 2023-07-01 | 2024-06-30 | YES | 2024-07-31 | YES | 2024-08-07
AL0001071 | PINE LEVEL WATER AUTHORITY | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-19 | 2024-10-17 | 2024-10-19 | YES | 2025-12-03 | -
AL0001073 | PINTLALA WATER SYSTEM, INC. | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-08-16 | 2024-08-11 | 2024-08-14 | 2024-08-11 | 2024-08-14 | - |  | -
AL0001102 | ALICEVILLE, WATER & SB OF THE CITY OF | 3A | MONITORING, ROUTINE, MINOR (RTCR) | E. COLI(3014) | 2024-05-20 | 2024-04-01 | 2024-04-30 | 2024-04-01 | 2024-04-30 | YES | 2025-04-30 | -
AL0001105 | GORDO WTR GAS & SEWER BOARD | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-21 | 2024-10-17 | 2024-10-21 | YES | 2025-12-03 | -
AL0001114 | GOSHEN WATER WORKS DIST SYSTEM | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2023-10-10 | 2023-08-01 | 2024-07-31 | 2023-08-01 | 2024-07-31 | YES | 2024-08-31 | YES | 2024-09-05
AL0001114 | GOSHEN WATER WORKS DIST SYSTEM | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-07-17 | 2024-06-01 | 2024-06-30 | 2024-06-01 | 2024-06-30 | YES | 2025-06-30 | -
AL0001114 | GOSHEN WATER WORKS DIST SYSTEM | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-17 | 2024-10-17 | 2024-10-17 | YES | 2025-12-03 | -
AL0001120 | PIKE COUNTY WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | DINOSEB(2041) | 2024-10-16 | 2024-01-01 | 2024-12-31 | 2024-01-01 | 2024-12-31 | YES | 2025-09-30 | -
AL0001120 | PIKE COUNTY WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | RADIOLOGICALS(RADS) | 2024-01-11 | 2024-01-11 | 2024-01-16 | 2023-10-01 | 2023-12-31 | - |  | -
AL0001120 | PIKE COUNTY WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | RADIOLOGICALS(RADS) | 2024-01-11 | 2024-01-11 | 2024-01-16 | 2023-10-01 | 2023-12-31 | YES |  | -
AL0001120 | PIKE COUNTY WATER AUTHORITY | MR | MONITORING/REPORTING STATE VIOLATION | PFAS(PFAS) | 2024-01-11 | 2024-01-11 | 2024-01-16 | 2023-07-01 | 2023-12-31 | - |  | -
AL0001130 | WADLEY UTILITIES BOARD | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-12-13 | 2024-11-01 | 2024-11-30 | 2024-11-01 | 2024-11-30 | YES | 2025-11-30 | -
AL0001130 | WADLEY UTILITIES BOARD | 52 | FOLLOW-UP OR ROUTINE TAP M/R (LCR) | LEAD & COPPER RULE(5000) | 2024-10-16 | 2022-01-01 | 2024-12-31 | 2022-01-01 | 2024-12-31 | YES | 2025-09-30 | -
AL0001137 | FT MITCHELL WATER SYSTEM | NP | FACILITY CONSTRUCTION W/O PERMIT |  | 2025-01-07 | 2024-07-08 | 2024-09-05 | 2024-07-08 | 2024-09-05 | - |  | -
AL0001139 | HURTSBORO WATER & SEWER BOARD | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-17 | 2024-10-17 | 2024-10-17 | YES | 2025-12-03 | -
AL0001145 | RUSSELL COUNTY WATER AUTHORITY | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | -
AL0001145 | RUSSELL COUNTY WATER AUTHORITY | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2025-11-06 | -
AL0001145 | RUSSELL COUNTY WATER AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2025-01-30 | 2024-10-17 |  | 2024-12-07 |  | - |  | -
AL0001213 | STEELE WATER WORKS BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-10-11 | 2024-01-01 | 2024-12-31 | 2024-01-01 | 2024-12-31 | YES | 2025-07-31 | -
AL0001213 | STEELE WATER WORKS BOARD | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | -
AL0001213 | STEELE WATER WORKS BOARD | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2025-11-06 | -
AL0001213 | STEELE WATER WORKS BOARD | 52 | FOLLOW-UP OR ROUTINE TAP M/R (LCR) | LEAD & COPPER RULE(5000) | 2024-10-16 | 2022-01-01 | 2024-12-31 | 2022-01-01 | 2024-12-31 | YES | 2025-09-30 | -
AL0001213 | STEELE WATER WORKS BOARD | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2025-01-30 | 2024-10-17 |  | 2024-12-07 |  | - |  | -
AL0001222 | SUMTER COUNTY WATER AUTHORITY | 34 | MONITOR GWR TRIGGERED/ADDITONAL, MAJOR | E. COLI(3014) | 2024-09-13 | 2024-07-08 |  | 2024-07-08 |  | YES | 2025-07-31 | -
AL0001223 | YORK WATER SYSTEM/CITY OF YORK | FM | FTM SAFE, CLEAN AND OPERABLE |  | 2024-02-28 | 2023-09-17 |  | 2023-09-17 |  | - |  | -
AL0001229 | WATER WORKS, INC. | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | YES | 2024-12-12
AL0001229 | WATER WORKS, INC. | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 | 2024-11-07 | 2024-10-17 | 2024-11-07 | YES | 2025-11-06 | -
AL0001261 | TALLADEGA-SHELBY WATER TREATMENT PLANT | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-07 | 2023-08-15 | 2023-11-19 | 2023-08-15 | 2023-11-19 | YES | 2024-03-31 | -
AL0001261 | TALLADEGA-SHELBY WATER TREATMENT PLANT | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-07 | 2023-11-14 | 2024-02-18 | 2023-08-15 | 2023-11-19 | YES | 2024-03-31 | -
AL0001265 | ALEXANDER CITY WATER DEPARTMENT | 03 | MONITORING, ROUTINE MAJOR | LT2 GROUP(LT2 ) | 2024-04-29 | 2024-04-01 | 2024-04-30 | 2024-04-01 | 2024-04-30 | YES | 2025-04-30 | -
AL0001270 | CAMP HILL UTILITIES BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-01 | 2023-09-12 | 2023-12-17 | 2023-09-12 | 2023-12-17 | YES | 2024-03-31 | YES | 2024-03-29
AL0001273 | DADEVILLE WATER WORKS & SEWAGE BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-15 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2025-03-31 | -
AL0001273 | DADEVILLE WATER WORKS & SEWAGE BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-04-03 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2025-03-31 | -
AL0001273 | DADEVILLE WATER WORKS & SEWAGE BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-10-25 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2025-03-31 | -
AL0001273 | DADEVILLE WATER WORKS & SEWAGE BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2025-01-15 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-03-31 | -
AL0001279 | JACKSONS GAP WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-15 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2025-03-31 | -
AL0001279 | JACKSONS GAP WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-04-03 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2025-03-31 | -
AL0001279 | JACKSONS GAP WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-10-25 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2025-03-31 | -
AL0001279 | JACKSONS GAP WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2025-01-15 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-03-31 | -
AL0001285 | RAY WATER AUTHORITY | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-05 | 2024-10-17 | 2025-01-27 | 2024-10-17 | 2025-01-27 | YES | 2025-01-04 | YES | 2025-01-27
AL0001285 | RAY WATER AUTHORITY | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2025-01-15 | 2024-10-17 | 2025-01-15 | YES | 2025-12-05 | YES | 2025-01-27
AL0001285 | RAY WATER AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2025-01-30 | 2024-10-17 | 2025-01-27 | 2025-01-05 | 2025-01-27 | - |  | -
AL0001293 | CITIZENS WATER SERVICE, INC. | 3A | MONITORING, ROUTINE, MINOR (RTCR) | E. COLI(3014) | 2024-12-13 | 2024-11-01 | 2024-11-30 | 2024-11-01 | 2024-11-30 | YES | 2025-11-30 | -
AL0001336 | JASPER WATER WORKS AND SEWER BOARD | 03 | MONITORING, ROUTINE MAJOR | LT2 GROUP(LT2 ) | 2024-08-13 | 2024-08-11 | 2024-08-13 | 2024-07-01 | 2024-07-31 | - |  | -
AL0001336 | JASPER WATER WORKS AND SEWER BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | CARBON, TOTAL(2920) | 2024-09-16 | 2024-08-01 | 2024-08-31 | 2024-07-01 | 2024-09-30 | YES | 2025-08-31 | -
AL0001336 | JASPER WATER WORKS AND SEWER BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-07 | 2023-08-24 | 2023-11-19 | 2023-08-24 | 2023-11-19 | YES | 2024-09-30 | YES | 2024-12-09
AL0001336 | JASPER WATER WORKS AND SEWER BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-07 | 2023-11-15 | 2024-02-18 | 2023-11-15 | 2024-02-18 | YES | 2024-09-30 | YES | 2024-12-09
AL0001336 | JASPER WATER WORKS AND SEWER BOARD | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-04-03 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2024-09-30 | YES | 2024-12-09
AL0001336 | JASPER WATER WORKS AND SEWER BOARD | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-11-01 | 2023-05-10 | 2024-06-30 | 2024-10-01 | 2024-12-05 | - |  | -
AL0001337 | KANSAS WATER SYSTEM | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | -
AL0001337 | KANSAS WATER SYSTEM | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2025-11-06 | -
AL0001337 | KANSAS WATER SYSTEM | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2025-01-30 | 2024-10-17 |  | 2024-12-07 |  | - |  | -
AL0001337 | KANSAS WATER SYSTEM | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-12-12 | 2024-11-11 |  | 2024-11-11 |  | - |  | -
AL0001337 | KANSAS WATER SYSTEM | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2025-01-15 | 2024-12-11 |  | 2024-12-11 |  | - |  | -
AL0001358 | CHATOM, THE UTILITIES BOARD OF THE TOWN | 03 | MONITORING, ROUTINE MAJOR | NITRATE(1040) | 2025-01-14 | 2024-01-01 | 2024-12-31 | 2024-01-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0001364 | MILLRY WATER WORKS | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-17 | 2024-10-17 | 2024-10-17 | YES | 2025-12-03 | -
AL0001371 | WILCOX COUNTY WATER AND SEWER DISTRICT | 02 | MCL, LRAA | TTHM(2950) | 2024-01-18 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2024-02-19 | YES | 2024-02-15
AL0001378 | SYCAMORE WATER AND SEWER AUTHORITY | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-17 | 2024-10-17 | 2024-10-17 | YES | 2025-12-03 | -
AL0001420 | ARDMORE WATER SYSTEM | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-12-12 | 2024-11-11 |  | 2024-11-11 |  | - |  | -
AL0001426 | SOUTHWEST ALABAMA WATER AUTHORITY | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-08-16 | 2024-08-11 | 2024-08-15 | 2024-08-11 | 2024-08-15 | - |  | -
AL0001460 | COWIKEE WATER AUTHORITY | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-23 | 2024-10-17 | 2024-10-23 | YES | 2025-12-03 | -
AL0001460 | COWIKEE WATER AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-11-01 | 2021-01-01 | 2023-12-31 | 2024-10-01 | 2024-12-31 | - |  | -
AL0001460 | COWIKEE WATER AUTHORITY | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-07-12 | 2024-05-11 |  | 2024-05-11 |  | - |  | -
AL0001507 | BUTLER COUNTY WATER AUTHORITY | 3A | MONITORING, ROUTINE, MINOR (RTCR) | E. COLI(3014) | 2024-05-14 | 2024-04-01 | 2024-04-30 | 2024-04-01 | 2024-04-30 | YES | 2025-04-30 | YES | 2024-10-03
AL0001507 | BUTLER COUNTY WATER AUTHORITY | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-02-16 | 2024-02-11 | 2024-02-13 | 2024-02-11 | 2024-02-13 | - |  | -
AL0001510 | TURNERVILLE WATER & FIRE PRO DISTRICT | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-01-11 | 2024-01-11 | 2024-01-11 | 2024-01-11 | 2024-01-11 | - |  | -
AL0001516 | HAMDEN RIDGE WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2023-10-31 | 2023-08-01 | 2024-07-31 | 2023-08-01 | 2024-07-31 | YES | 2024-08-31 | YES | 2024-08-05
AL0001516 | HAMDEN RIDGE WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-10-11 | 2024-01-01 | 2024-12-31 | 2024-01-01 | 2024-12-31 | YES | 2025-08-31 | -
AL0001540 | CARROLLS CREEK WATER AUTHORITY | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-12-02 | 2024-10-17 | 2024-10-24 | 2024-10-17 | 2024-10-24 | YES | 2025-12-03 | -
AL0001540 | CARROLLS CREEK WATER AUTHORITY | NP | FACILITY CONSTRUCTION W/O PERMIT |  | 2024-06-10 | 2024-06-10 | 2024-06-26 | 2024-06-10 | 2024-06-26 | - |  | -
AL0001672 | REMLAP-PINE MTN WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-03-07 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2024-12-31 | YES | 2024-05-30
AL0001672 | REMLAP-PINE MTN WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-07-05 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2024-12-31 | YES | 2024-05-30
AL0001672 | REMLAP-PINE MTN WATER AUTHORITY | 27 | MONITORING, ROUTINE (DBP), MAJOR | DBP GROUP STAGE 2(DBP2) | 2024-10-25 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2024-12-31 | YES | 2024-05-30
AL0001748 | JACKSON COUNTY WATER AUTHORITY | 02 | MCL, LRAA | TTHM(2950) | 2024-09-09 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2024-10-20 | YES | 2024-11-13
AL0001748 | JACKSON COUNTY WATER AUTHORITY | 02 | MCL, LRAA | TTHM(2950) | 2024-12-03 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-01-03 | YES | 2025-01-13
AL0001748 | JACKSON COUNTY WATER AUTHORITY | 2E | LSL INVENTORY-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2024-12-06 | -
AL0001748 | JACKSON COUNTY WATER AUTHORITY | 4G | LSL REPORTING-INITIAL | LEAD AND COPPER RULE REVISIONS(5200) | 2024-11-06 | 2024-10-17 |  | 2024-10-17 |  | YES | 2025-11-06 | -
AL0001748 | JACKSON COUNTY WATER AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-11-01 | 2024-07-01 | 2024-09-30 | 2024-10-21 | 2024-11-13 | - |  | -
AL0001748 | JACKSON COUNTY WATER AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2025-01-30 | 2024-10-17 |  | 2024-12-07 |  | - |  | -
AL0001760 | MILLERS FERRY WATER AUTHORITY, INC. | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-08-20 | 2024-08-11 | 2024-08-19 | 2024-08-11 | 2024-08-19 | - |  | -
AL0001761 | CLEBURNE COUNTY WATER AUTHORITY | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-08-12 | 2024-07-11 |  | 2024-07-11 |  | - |  | -
AL0001764 | CWM WATER AUTHORITY | 02 | MCL, LRAA | TOTAL HALOACETIC ACIDS (HAA5)(2456) | 2024-02-01 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2024-03-01 | YES | 2024-03-15
AL0001764 | CWM WATER AUTHORITY | 02 | MCL, LRAA | TOTAL HALOACETIC ACIDS (HAA5)(2456) | 2024-05-03 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2024-06-03 | YES | 2024-05-31
AL0001764 | CWM WATER AUTHORITY | 02 | MCL, LRAA | TTHM(2950) | 2024-02-01 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2024-03-01 | YES | 2024-03-15
AL0001764 | CWM WATER AUTHORITY | 02 | MCL, LRAA | TTHM(2950) | 2024-05-03 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2024-06-03 | YES | 2024-05-31
AL0001764 | CWM WATER AUTHORITY | 02 | MCL, LRAA | TTHM(2950) | 2024-07-29 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2024-09-06 | YES | 2024-08-26
AL0001764 | CWM WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | INORGANICS SCHEDULES(SIOC) | 2025-01-14 | 2024-10-01 | 2024-12-31 | 2022-01-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0001764 | CWM WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | NITRATE(1040) | 2025-01-14 | 2024-01-01 | 2024-12-31 | 2024-01-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0001764 | CWM WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | RADIOLOGICALS(RADS) | 2025-01-14 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | - |  | -
AL0001764 | CWM WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | RADIOLOGICALS(RADS) | 2025-01-14 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0001764 | CWM WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | SOCS SCHEDULE(SSOC) | 2025-01-14 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0001764 | CWM WATER AUTHORITY | 03 | MONITORING, ROUTINE MAJOR | VOCS SCHEDULE(SVOC) | 2025-01-14 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-12-31 | -
AL0001764 | CWM WATER AUTHORITY | 35 | FAILURE SUBMIT OEL REPORT FOR HAA5 | TOTAL HALOACETIC ACIDS (HAA5)(2456) | 2023-11-08 | 2023-03-07 | 2024-02-09 | 2023-03-07 | 2024-02-09 | - |  | -
AL0001764 | CWM WATER AUTHORITY | 35 | FAILURE SUBMIT OEL REPORT FOR HAA5 | TOTAL HALOACETIC ACIDS (HAA5)(2456) | 2023-11-08 | 2023-07-12 | 2024-02-09 | 2023-07-12 | 2024-02-09 | - |  | -
AL0001764 | CWM WATER AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2023-11-03 | 2023-04-01 | 2023-06-30 | 2023-06-09 | 2024-02-01 | - |  | -
AL0001764 | CWM WATER AUTHORITY | 75 | PUBLIC NOTICE RULE LINKED TO VIOLATION | PUBLIC NOTICE(7500) | 2024-03-19 | 2024-01-01 | 2024-03-31 | 2024-03-11 | 2024-03-15 | - |  | -
AL0001764 | CWM WATER AUTHORITY | M1 | FAILURE TO SUBIT MONTHLY OPER. REPORT |  | 2024-02-11 | 2024-02-11 | 2024-02-13 | 2024-02-11 | 2024-02-13 | - |  | -
AL0001764 | CWM WATER AUTHORITY | MR | MONITORING/REPORTING STATE VIOLATION | PFAS(PFAS) | 2025-01-14 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | - |  | -
AL0001767 | AKRON WATER DEPARTMENT, TOWN OF | 3A | MONITORING, ROUTINE, MAJOR (RTCR) | E. COLI(3014) | 2024-04-11 | 2024-03-01 | 2024-03-31 | 2024-03-01 | 2024-03-31 | YES | 2025-03-31 | -
AL0001770 | EAST CENTRAL BALDWIN COUNTY WATER & FPA | 66 | LEAD CONSUMER NOTICE (LCR) | LEAD & COPPER RULE(5000) | 2024-11-08 | 2024-03-31 | 2024-11-15 | 2024-03-31 | 2024-11-15 | - |  | -
AL0001783 | BLOUNT COUNTY WATER AUTHORITY | 1A | MCL, E. COLI, POS E COLI (RTCR) | E. COLI(3014) | 2024-02-16 | 2024-02-01 | 2024-02-29 | 2024-02-01 | 2024-02-29 | YES | 2024-02-17 | YES | 2024-02-27
AL0001791 | FSI EVERGREEN ESTATES PROPERTY, LLC | 4B | REPORT SAMPLE RESULT/FAIL MONITOR RTCR | E. COLI(3014) | 2024-08-20 | 2024-08-11 | 2024-08-19 | 2024-08-11 | 2024-08-19 | - |  | -
AL0001796 | DEKALB-JACKSON WATER SUPPLY DISTRICT | 02 | MCL, LRAA | TOTAL HALOACETIC ACIDS (HAA5)(2456) | 2024-03-04 | 2024-01-01 | 2024-03-31 | 2024-01-01 | 2024-03-31 | YES | 2024-04-04 | YES | 2024-04-05
AL0001796 | DEKALB-JACKSON WATER SUPPLY DISTRICT | 02 | MCL, LRAA | TOTAL HALOACETIC ACIDS (HAA5)(2456) | 2024-06-13 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2024-07-10 | YES | 2024-07-09
AL0001796 | DEKALB-JACKSON WATER SUPPLY DISTRICT | 02 | MCL, LRAA | TOTAL HALOACETIC ACIDS (HAA5)(2456) | 2024-09-16 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2024-10-17 | YES | 2024-10-07
AL0001796 | DEKALB-JACKSON WATER SUPPLY DISTRICT | 02 | MCL, LRAA | TOTAL HALOACETIC ACIDS (HAA5)(2456) | 2024-12-04 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-02-15 | YES | 2025-02-10
AL0001796 | DEKALB-JACKSON WATER SUPPLY DISTRICT | 02 | MCL, LRAA | TTHM(2950) | 2024-06-13 | 2024-04-01 | 2024-06-30 | 2024-04-01 | 2024-06-30 | YES | 2024-07-10 | YES | 2024-07-09
AL0001796 | DEKALB-JACKSON WATER SUPPLY DISTRICT | 02 | MCL, LRAA | TTHM(2950) | 2024-09-16 | 2024-07-01 | 2024-09-30 | 2024-07-01 | 2024-09-30 | YES | 2024-10-17 | YES | 2024-10-07
AL0001796 | DEKALB-JACKSON WATER SUPPLY DISTRICT | 02 | MCL, LRAA | TTHM(2950) | 2024-12-05 | 2024-10-01 | 2024-12-31 | 2024-10-01 | 2024-12-31 | YES | 2025-02-15 | YES | 2025-02-10